## Summary
Description | UOM | Value | Actual Load KVA | Remarks
Utility Sanction Load kW | KVA | 1500 | 140.92
Utility Minimum billed Demand % | KVA | 9.395%
Customer contracted capacity | KVA | 96
Actual Utilization IT Power | KVA | 56.87

## Inventory Summary
| POWER SUMMARY | Contract Demand | Utility Consumption | Demand % | IT Consump | PUE
| TOTAL KOLKATA | 1500 | 140.92 | 9.395% | 56.87 | 2.4779
Inventory Summary | IT kW Capacity |  | IT kW Consumption |  |  | Rackspace Capacity
| Design | Sold | Available | Consumed | % of Sold | Design | Des - Losses | Sold | Available
Total Overall
L2 | 1080 | 96 | 984 | 56.87 | 9.05% | 292 | 2 | 24 | 266

## Facility details
Description | Value | Actual Load KVA
| As per the Sanction Letter | Usage measured on 1of every month
Utility Sanction Load KVA | 1500 | 140.92
Utility Minimum Demand % | 80 | 9.3947
Capacity Installed | Transformer kW | No of TX | Catcher TX kW | No. Of catcher | Actual Load kW | Generator kW | No of DG | Catcher DG kW | No. Of catcher | UPS kW | UPS Config | IT capacity Installed kW | IT Power Sold in kW ( concidering unity as PF) | Allocated IT Power to customer ( Taking 50% as divercity factor for rated power customer ) | IT kW Usage | Avaialble IT kW Design-Used | Available IT kW Design-Sold | Available IT kW Design-Sold ( Allocated capacity) | MAX Rack Capacity | Racks which can be placed on floor | Rack losss ( Cage+ non standard rack+ path) | Available space | Designed White Space ( in SQ FT) | Used White Space( in SQ FT) | Avaialble White Space ( in SQ FT)
| Mention the design kW capacity of Transformer |  |  |  |  | Mention the design kW capacity of Generator |  |  |  | Mention the design N capacity in kw in a N+N Configuration |  | Installed including interfloor shared capacity | Customer subscribed IT kW | Allocated power | Measured on 1st of every month | Measured on 1st of every month | Measured on 1st of every month | Measured on 1st of every month
L2 | 2000 | 1 | 1500 | 1 | 140.92 | 1500 | 1 | 1500 | 1 | 1200 | Bank A (600 KW) | 1080 | 96 | 48.375 | 57 | 1024 | 984 | 1018.12 | 308 | 286 | 2 | 9000 | 2464 | 232 | 2232
Bank A (600 KW)
[11 empty] | Bank B (600 KW) |  |  | 48.375
Bank B (600 KW)
Note on L16: 800 KW for L6 & 800 KW for L5
Note on L17: 800 KW for L3 & 800 KW for L4

## Customer details
[19 empty] | Divisification |  | 0.5 | Rated to Consumed |  |  | #REF! |  | Actual PUE | #REF! | Actual Unit Rate: | #REF! | #REF! | Genset Hr/Mo | 5
|  |  |  | Billing Model |  | Space | [8 empty] | Power Capacity | [11 empty] | Power Usage |  |  |  |  | Seating Space | [7 empty] | Revenue (Monthly ) | [6 empty] | Contract Information
Floor | Floor / Module | Customer Name | RHS/SH | Power Subscription Model (Rated/Subscribed) | Power Usage Model (Bundled / Metered) | Subscription Mode | Caged /Uncaged | UoM | Subscription | In Use | Yet to be given/ | Billed | Reserved Capacity if any (Non-Billable) | Per Unit rate (MRC) | Subscription Model | UoM | Total Capacity Purchased | Capacity in Use | Capacity to be given | Reserved Capacity if any | Subscribed Capacity to be given in KW | "Allocated" Capacity in KW | DC NW Infra | Usage in KW | Billable Additional Capacity | Additional Capacity Charges (MRC) | Usage Model | Multiplier | Unit rate Model (Fixed/Variable) | Unit Rate (per KW-HR) | No Of Units (KW-HR/ Month | Subscription Model | UoM | Subscription | In Use | Yet to be given | Billed | Reserved Capacity if any | Per Unit rate | Space revenue including capacity | Additional Capacity Revenue | Power Usage revenue | Seating Space | Any Other Items | Total Revenue | Billing Frequency | Sales Order ref No | Contract Start Date | Term of Contract (No of Years) | Current Expiry Date | Remarks if any
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | NU VISTA LIMITED | YES | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 42916.6667 | Rated | KVA | 3 | 0.67 | 2.33 | 0 | 1.165 | 1.5 | 0.67 | 0 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 42916.6667 | 0 | 0 | 0 | 5000 | 47916.6667 |  | 5000000996 | 25.08.2020 |  |  | PO Expiry date is not mention.Any Other Item (column AS) add RHS cost and 3 Cross connect cost MRC. customer having Ethernet-4 (Sify-2,Airtel-1,TCL-1) cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | EASTERN & NORTH- EAST FRONTIER RAILWAY CO-OP BANK LTD | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 51408.3333 | Rated | KVA | 4 | 11.706 | -7.706 | 0 | 0 | 2 | 11.706 | 1.3 | 0 | 9000 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 51408.3333 | 69354 | 0 | 0 | 0 | 120762.3333 |  | CB/CBS/SIFY/DC_HOSTING/PO_REV/2020-21 | 22.11.2020 | Yes | 12.12.2025 | This customer having Ethernet-4 (Sify-2,BSNL-2) cross connect . RHS and Cross connect ARC is not mention at customer PO.PO validity-5 Years.As per mail this customer service disconnected. We are waiting for confirmation mail.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | IFB INDUSTRIES LIMITED | YES | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 83333.3333 | Rated | KVA | 6 | 5.85 | 0.15 | 0 | 0.075 | 3 | 5.85 | 1.4 | 0 | 14750 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 83333.3333 | 0 | 0 | 0 | 20000 | 103333.3333 |  |  | 15.02.2024 |  |  | PO Number not mention at Customer PO Copy. RHS , Fire proof vault MRC added at Any Other Item (column AS).Cross connect cost not mention ,as we have only 3 month PO but not impliment the same. As per PO 6 no. RHS per Qtr and daily basis tape rotation. We received additionl Power PO 11 KVA , The MRC cost added at additional power column.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | WIPRO LIMITED [IFB] | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 42500 | Rated | KVA | 3 | 6.034 | -3.034 | 0 | 0 | 1.5 | 6.034 | 1.2 | 0 | 9166.666 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 42500 | 27811.6646 | 0 | 0 | 0 | 70311.6646 |  |  | 08.04.2021 | Yes | 08.04.2024 | As Per PO 3 Years contact. PO Number not mention at PO copy. Customer have Ethernet-3 (Sify-2,TCL-1) cross connect but PO is not available with us.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | SHIVTEL COMMUNICATIONS PRIVATE LIMITED | YES | Rated | Bundled | U Space | Uncaged | U Space | 4 | 4 | 0 | 4 | 0 | 2916 | Rated | KW | 1 | 0.015 | 0.985 | 0 | 0.4925 | 0.5 | 0.015 | 0.066 | 0 | 7500 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 11664 | 0 | 0 | 0 | 625 | 12289 |  |  | 08.10.2021 | Yes | 03.09.2024 | As per PO 3 Years contact and PO number is not mention at PO Copy. RHS and 1 cross connect added at Any Other Item (column AS) MRC.Customer having Ethernet-3 (Sify-1 , Vi-2) cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | TRIPURA STATE CO-OPERATIVE BANK LIMITED | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 3 | 3 | 0 | 3 | 0 | 43099.86 | Rated | KVA | 18 | 33.773 | -15.773 | 0 | 0 | 9 | 33.773 | 6.5 | 0 | 7500 | Bundled | 1 | Fixed |  |  | No of Seats |  | 2 | 2 | 0 | 2 | NA | 6416.66 | 129299.58 | 118297.5 | 0 | 12833.32 | 3333.33 | 263763.73 |  | 5112-13/21 | 27.11.2021 & 28.11.2021 | Yes | 31.08.2026 | Cross connect ARC Is not mention after 1 year.Seating and Vault cost taken MRC. Rack no-3 live at 28.11.2021
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | PARAHIT TECHNOLOGIES LIMITED | NO | Rated | Bundled | U Space | Uncaged | U Space | 3 | 3 | 0 | 3 | 0 | 2750 | Rated | KVA | 0.75 | 1.1 | -0.35 | 0 | 0 | 0.375 | 1.1 | 0.05 | 0 | 7916.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 8250 | 2770.831 | 0 | 0 | 13333.333 | 24354.164 |  |  | 25.02.2022 | Yes | 25.02.2023 | Contact Period mention at PO minimum 1 year and renewal basis.As per PO 3 cross connect ARC mention which added at Any Other Item (column AS) MRC.Customer having Ethernet-5 (Sify-2,TTSL-2,AIRTEL-1) cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | KRISH COMMUNICATION | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 1091.269 | Rated | KVA | 3 | 5.096 | -2.096 | 0 | 0 | 1.5 | 5.096 | 2.1 | 0 | 7916.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 22916.649 | 16593.3194 | 0 | 0 | 0 | 39509.9684 |  | 001/23-24 | 11.05.2023 | Yes | 11.05.2028 | Contact Period mention at PO minimum 1 year and renewal basis.As per PO cross cost is mention 0. Customer had Ethernet-1 (Sify-1) cross connect and which disconnected. Rack-L2-R-01 / KOL-01, All deviced are moved to Rack-KOL-34 date-04-10-2025. PO renewal till 2028. confirmed by moumita.jauhari@sifycorp.com at mail
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | KRISH COMMUNICATION | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 1091.269 | Rated | KVA | 3 | 2.25 | 0.75 | 0 | 0.375 | 1.5 | 2.25 | 1.3 | 0 | 7916.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 22916.649 | 0 | 0 | 0 | 0 | 22916.649 |  | 0101/23-24 | 06.03.2024 | Yes | 06.03.2026 | Contact Period mention at PO minimum 1 year and renewal basis.As per PO cross cost is mention 0. Customer having no cross connect in this rack. Rack-L2-R-02/KOL-02 all devices are shifted to Rack-L2-Q-07/KOL-24. Renewal PO will be shared with us after getting from customer.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | DIC INDIA LIMITED | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 972.22 | Rated | KVA | 1.5 | 1.009 | 0.491 | 0 | 0.2455 | 0.75 | 1.009 | 0.35 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 20416.62 | 0 | 0 | 0 | 18750 | 39166.62 |  | 4518729828 | 12.06.2023 |  |  | As per PO Contact period is not mention and Ethernet crossconnect mention 6 and fiber mention 1 . Cross connect and RHS cost mention at Any Other Item (column AS) MRC. Note We only taken ARC from CE PO. customer cross connect- Ethernet-3 , Fiber-1 ((Sify-2 , TCL-1 ,Sify-1(Fiber))
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | PRIMENET GLOBAL PRIVATE LIMITED | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 1031.74 | Rated | KVA | 2 | 2.1 | -0.1 | 0 | 0 | 1 | 2.1 | 0.4 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 21666.54 | 0 | 0 | 0 | 16833.33 | 38499.87 |  | Primenet 001/2023-24 | 24.08.2023 |  |  | Contact period is not mention at PO. Customer having Ethernet-8,Fiber-2(TCL-8,LI.Strome-1(Fiber),TTSL-1(Fiber)) cross connect. ARC cost added at Any Other Item (column AS) MRC.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | THE EASTERN INDIA HEART CARE & RESEARCH FOUNDATION | YES | Subscribed | Metered | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 13750 | Subscribed | KW | 7 | 1.55 | 5.45 | 0 | 5.45 | 7 | 1.55 | 0.5 | 0 | 0 | Metered | 1.65 | Variable | 9.09 | 348.8 | No of Seats |  | 1 | 1 | 0 | 1 | NA | 7083.33 | 13750 | 0 | 5231.4768 | 7083.33 | 5625 | 31689.8068 |  | EIHCRF/WO-036/2023-24 | 25.11.2023 |  |  | Contact period is not mention at PO. RHS,Ethernet and fiber cross ARC added at Any Other Item (column AS) MRC. Customer having Ethernet-1 (Sify-1) Cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | R R SEN & BROS PRIVATE LIMITED | YES | Rated | Bundled | U Space | Uncaged | U Space | 1 | 1 | 0 | 1 | 0 | 12916.6667 | Rated | KVA | 1 | 0.25 | 0.75 | 0 | 0.375 | 0.5 | 0.25 | 0.016 | 0 | 10000 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 12916.6667 | 0 | 0 | 0 | 2083.33 | 14999.9967 |  |  | 20.12.2023 | Yes | 07.12.2026 | As per PO Contract period-3 years. RHS and 1 ETH Cross connect cost added at Any Other Item (column AS) MRC. Customer having Ethernet-1 (Sify-1) cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | NATIONAL STOCK EXCHANGE OF INDIA LIMITED | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 |  | Rated | KVA | 6 | 2.6 | 3.4 | 0 | 1.7 | 3 | 2.6 | 0.6 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 2324NSEILIT315 dated on 07-DEC-23 | 16.02.2024 |  |  | Customer project number-121002047. PO details is not shared with us.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | RP WORLD WEBNET P LTD | YES | Rated | Bundled | U Space | Uncaged | U Space | 6 | 6 | 0 | 6 | 0 | 1875 | Rated | KW | 1 | 0.287 | 0.713 | 0 | 0.3565 | 0.5 | 0.287 | 0.07 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 11250 | 0 | 0 | 0 | 27499.99 | 38749.99 |  |  | 22.03.2024 | Yes | 22.03.2027 | As per PO Contract period is for a minimum of 3 years . 2 fiber cross connect cost and RHS cost added at Any Other Item (column AS) MRC. Customer having Fiber-8 (Sify-2,Airtel-3,TTSL-1,Vi-1, TCL-1) Cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | IMERIT TECHNOLOGY SERVICES PVT LTD | YES | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 2281.74 | Rated | KVA | 1.5 | 2.329 | -0.829 | 0 | 0 | 0.75 | 2.329 | 0 | 0 | 11666.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 47916.54 | 9671.6611 | 0 | 0 | 19583.33 | 77171.5311 |  | IMERIT/2023-24/91 | 18.04.2024 |  |  | As per PO contact periods is not mention. 2 Fiber cross connect and RHS,SHS cost added at Any Other Item (column AS) MRC. customer having Fiber-1 (Sify-1) cross connect.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | SERVERWALA CLOUD DATA CENTERS PVT LTD | NO | Rated | Bundled | U Space | Uncaged | U Space | 4 | 4 | 0 | 4 | 0 | 2291.66 | Rated | KVA | 1 | 2.067 | -1.067 | 0 | 0 | 0.5 | 2.067 | 0 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 9166.64 | 0 | 0 | 0 | 833 | 9999.64 |  |  | 03.10.2024 | Yes | 03.10.2027 | As per PO Contract period is for a minimum of 3 years . 1 ETH cross connect cost added at Any Other Item (column AS) MRC. customer having Ethernet-1 (Sify-1) cross connect. Customer's all devices are switch off at Rack.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | KRISH COMMUNICATION | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 1091.267 | Rated | KVA | 3 | 4.184 | -1.184 | 0 | 0 | 1.5 | 4.184 | 1.3 | 0 | 7916.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 22916.607 | 9373.3254 | 0 | 0 | 0 | 32289.9324 |  | 0101/24-25 | 25.10.2024 | Yes | 25.10.2027 | Contact Period mention at PO minimum 1 year and renewal basis.As per PO cross cost is mention 0. Customer having 2 cross connect in this rack. PO renewal till 2027. confirmed by moumita.jauhari@sifycorp.com at mail
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | EDGEREDE PRIVATE LIMITED | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 4666.66 | Rated | KVA | 3 | 4.738 | -1.738 | 0 | 0 | 1.5 | 4.738 | 1.3 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 4666.66 | 0 | 0 | 0 | 52500 | 57166.66 |  | #POEPL00003 | 21.04.2025 | Yes | 23.02.2026 | As Per PO ,Service Term of the Order Form is 1 year. Customer have 9 fiber cross connect (TCL-2,Onemind-2,JIO-2,AIRTEL-1,NXTRA(Airtel)-2) cost added at Any Other Item(Column AS) MRC. PO also mention MRC not ARC.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | ONEMIND CLOUD SERVICES PRIVATE LIMITED | NO | Subscribed | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 | 0 | 11250 | Subscribed | KW | 8 | 19.3 | -11.3 | 0 | 0 | 8 | 19.3 | 7.1 | 0 | 60000 | Metered | 1.65 | Variable | 9.09 | 5277.2 | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 22500 | 678000 | 79150.0842 | 0 | 0 | 779650.0842 |  | NA | 21.04.2025 & 05.05.2025 | Yes | 26.03.2026 | As Per PO ,Service Term of the Order Form is 1 year. Customer have 1 fiber cross connect which is not delivered as service provider details is not shared from custmer end. PO Date-26.03.2025
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | 24ONLINE INFO TECHNOLOGIES PRIVATE LIMITED | NO | Rated | Bundled | U space | Uncaged | U Space | 6 | 6 | 0 | 6 | 0 | 2222.222 | Rated | KVA | 1.5 | 3.77 | -2.27 | 0 | 1.5 | 1.5 | 3.77 | 0.07 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 13333.332 | 0 | 0 | 0 | 0 | 13333.332 |  |  | 21.05.2025 | Yes | 21.05.2026 | As Per PO ,Service Term of the Order Form is 1 year. Customer have 1 Ethernet cross connect which cost is 0 and service provider is SIFY.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | KRISH COMMUNICATION | NO | Rated | Bundled | U Space | Uncaged | U Space | 21 | 21 | 0 | 21 | 0 | 1091.26 | Rated | KVA | 3 | 3.05 | -0.05 | 0 | 0 | 1.5 | 3.05 | 2.1 | 0 | 7916.66 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 22916.46 | 395.833 | 0 | 0 | 0 | 23312.293 |  | KCPL/0008/25-26 | 02.01.2026 | Yes | 01.01.2027 | Contact Period mention at PO minimum 3 year and renewal basis.As per PO cross cost is mention 0. Customer having (1 cross connect is pending for service provider details is not shared by customer )as per customer this cross connect is not required. So, we closed the RITM incompleted.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | R R SEN & BROS PRIVATE LIMITED | NO | Rated | Bundled | U Space | Uncaged | U Space | 3 | 3 | 0 | 3 | 0 | 2777.77 | Rated | KVA | 0.75 | 0.81 | -0.06 | 0 | 0 | 0.375 | 0.81 | 0.016 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 8333.31 | 0 | 0 | 0 | 0 | 8333.31 |  | NA | 25.10.2025 | Yes | 26.10.2026 | As per PO Contract period-1 years. 1 tray installed at Rack which provided by customer.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | MAYUSH IT SERVICES PRIVATE LIMITED | NO | Rated | Bundled | U Space | Uncaged | U Space | 6 | 6 | 0 | 6 | 0 | 4236.11 | Rated | KVA | 2.5 | 2.965 | -0.465 | 0 | 0 | 1.25 | 2.965 | 0.07 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 25416.66 | 0 | 0 | 0 | 1250 | 26666.66 |  | #MAISPL/25-26/P29 | 05.11.2025 | Yes | 04.11.2026 | As per PO, Service Term of the Order Form is 1 year. Customer have 1 ethernet cross connect (SIFY-1) cost added at Any Other Item(Column AS) MRC.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | VOICETREE TECHNOLOGIES PVT LTD | YES | Rated | Bundled | U Space | Uncaged | U Space | 3 | 3 | 0 | 3 | 0 | 2500 | Rated | KVA | 1 | 0.865 | 0.135 | 0 | 0.0675 | 0.5 | 0.865 | 0.035 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 7500 | 0 | 0 | 0 | 3333.33 | 10833.33 |  | VT/2025-26/SERVICE/36/37/38 | 14.11.2025 | Yes | 13.11.2026 | As per PO, Service Term of the Order Form is 1 year. Customer have 3 ethernet cross connect (TTSL- 2, AIRTEL-1) and RHS cost added at Any Other Item(Column AS) MRC.
L2 | 2nd Floor, RDB¦PRIMARC-01, Tower-C | ISHAN NETSOL PVT LTD | NO | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 | 0 | 57500 | Rated | KVA | 6 | 0.4 | 5.6 | 0 | 2.8 | 3 | 0.4 | 0.0333 | 0 | 0 | Bundled | 1 | Fixed |  |  | No of Seats |  | 0 | 0 | 0 | 0 | NA |  | 57500 | 0 | 0 | 0 | 15000 | 72500 |  | INPL/25-26/79 | 10.01.2026 | Yes | 09.01.2027 | As per PO Contact period- 1 year. Cross connect cost mention at Any Other Item (column AS) MRC. Customer having Fiber-7(Outside Pit-7) cross connect. As Per PO customer have 6 cross connect, But they required only 3. So , We added 3 cross MRC at any other columns.

## Disconnection details
[19 empty] | Divisification |  | 0.5 | Rated to Consumed |  |  | #REF! |  | Actual PUE | #REF! | Actual Unit Rate: | #REF! | #REF! | Genset Hr/Mo | 5
|  |  |  | Billing Model |  | Space | [8 empty] | Power Capacity | [11 empty] | Power Usage |  |  |  |  | Seating Space | [7 empty] | Revenue (Monthly ) | [6 empty] | Contract Information
Floor | Floor / Module | Customer Name | RHS/SH | Power Subscription Model (Rated/Subscribed) | Power Usage Model (Bundled / Metered) | Subscription Mode | Caged /Uncaged | UoM | Subscription | In Use | Yet to be given/ | Billed | Reserved Capacity if any (Non-Billable) | Per Unit rate (MRC) | Subscription Model | UoM | Total Capacity Purchased | Capacity in Use | Capacity to be given | Reserved Capacity if any | Subscribed Capacity to be given in KW | "Allocated" Capacity in KW | DC NW Infra | Usage in KW | Billable Additional Capacity | Additional Capacity Charges (MRC) | Usage Model | Multiplier | Unit rate Model (Fixed/Variable) | Unit Rate (per KW-HR) | No Of Units (KW-HR/ Month | Subscription Model | UoM | Subscription | In Use | Yet to be given | Billed | Reserved Capacity if any | Per Unit rate | Space revenue including capacity | Additional Capacity Revenue | Power Usage revenue | Seating Space | Any Other Items | Total Revenue | Billing Frequency | Sales Order ref No | Contract Start Date | Term of Contract (No of Years) | Current Expiry Date | Remarks if any